MANDATORY DOCUMENTATION CHECKLIST

EMR vendor must submit ALL the documentation as per the checklist below. Failure to submit any of the documents will result in the Application being rejected.

| # | DOCUMENT |  |
| --- | --- | --- |
| A | ISO 13485 OR ISO 9001 Certificate The EMR vendor MUST submit a valid ISO 13485:2016 OR ISO 9001 Certificate along with the Application for EMR Certification. EMR Vendors submitting the ISO 9001 Certificate will also need to provide an excerpt of the audited quality documentation (e.g., quality manual) that demonstrates the concept of patient safety (i.e., patients’ freedom from unacceptable risk) included in the description of: - the needs and expectations of interested parties (ISO 9001:2015 Requirement 4.2) and - the scope of the quality management system (ISO 9001:2015 Requirement 4.3). |  |
| B | Privacy Impact ASSessment (PIA) Summary including Risk Mitigation Plan The EMR vendor MUST have an application-level Privacy Impact Assessment (PIA) completed on the EMR offering by an independent third-party Privacy Specialist with any of the following credentials current and in good standing: CIPP/C- Certified Information Privacy Professional/Canada, CIPM-Certified Information Privacy Manager). The EMR vendor MUST submit the PIA Summary Report and the Risk Treatment Plan along with the Application for EMR Certification. The PIA Summary Report and Risk Treatment Plan MUST reflect the EMR offering version that is being submitted for Certification. The PIA Report MUST include the information identified in the PIA checklist included in the Conformance Package. |  |
| C | Threat Risk Assessment (TRA) Summary including Risk Mitigation Plan The EMR vendor MUST have an application level Threat Risk Assessment (TRA) completed on the EMR offering by an independent third-party Information Security Professional with one of the following credentials current and in good standing(e.g. CISSP: Certified Information Systems Security Professional, CISM – Certified Information Security Manager, CISA – Certified Information Systems Auditor). The TRA MUST be completed in accordance with one of the following methodologies: HTRA- Harmonized Threat and Risk Assessment Methodology, NIST SP 800-30- National Institute of Standards and Technology. The EMR vendor MUST submit the TRA Summary and the Risk Treatment Plan along with the Application for EMR Certification. The TRA Summary and Risk Mitigation Plan MUST reflect the EMR offering version that is being submitted for Certification. The TRA MUST include the information identified in the TRA checklist included in the Conformance Package. |  |
| D | Drug Database License – Canadian Version The EMR vendor MUST submit a valid license confirming that a Canadian drug database has been integrated in the EMR offering for prescribing medication, drug-to-drug and drug-to-allergy interaction. |  |
| E | BILLING INTEGRATION ATTESTATION The EMR vendor MUST submit an attestation that their EMR offering has successfully completed the jurisdiction specific integration. The attestation MUST reflect the EMR offering version that is submitted for Certification. |  |
| F | Health Card Validation (HCV) ATTESTATION (ONTARIO ONLY) The EMR vendor MUST submit an attestation that their EMR offering has successfully completed the jurisdiction specific integration. The attestation MUST reflect the EMR offering version that is submitted for Certification. |  |
| G | EMR Requirements Attestation The EMR vendor MUST submit a fully completed EMR Requirements Attestation Form along with any documentation to support the Attestation. |  |
| H | EMR Hosting specification – substantiation REQUIREMENTS The EMR vendor MUST submit ALL documentation as stated in the EMR Hosting Specification – Substantiation Requirements document. |  |
| I | Client Reference The EMR vendor MUST submit a reference letter from a current client substantiating the use of the EMR in a current clinical practice. |  |
| J | SECURITY PROCESSES and CONTROL Audits The EMR vendor MUST submit one of the following audit reports or certificates that are current and in good standing: a. ISO/IEC 27001 certificate, and statement of applicability or similar b. HITRUST R2 certificate, scope, and supplementary or similar reports c. SOC 2 Type II audit report. The report MUST cover Security, Confidentiality, Integrity, Availability and Privacy Trust Service Criteria for the services offered. The audit report/certificate MUST reflect the EMR offering version that is being submitted for Certification. |  |
| K | Questionnaire The EMR vendor MUST submit answers to the questionnaire included in your conformance package related to the assessment of security controls and processes of the EMR vendor as a “software supplier”. |  |